## Sheet1
TEST DAY 1
| N/A | x | y | z
static border | 0.00012
temp | 25.5
gyro bias |  | 2.0637 | 1.2954 | 0.28692
TEST DAY 2
static border | 8.3e-05
temp | 25.49
gyro bias |  | 1.8346 | 1.2168 | 0.080097
TEST DAY 3
&STATIC0.000089
&GYRO_BIAS GX2.060087GY0.862234GZ0.336149
&TEMP26.27
&STATIC0.000082
&GYRO_BIAS GX2.154391GY0.825239GZ0.370666
&TEMP25.75
python data_analysis_V3.py --file DATA/GYRO_CLEAN_ROTATIONS.txt --rate 78 --integrator rk4 --accel-params PARAMS/TURNTABLE_PARAMS.txt
TEST DAY 4
&STATIC0.000080
&GYRO_BIAS GX2.193134GY1.042247GZ0.365067
&TEMP24.28
120 second static:
&STATIC0.000079
&GYRO_BIAS GX2.208639GY1.054514GZ0.363871
&TEMP24.59
python data_analysis_V3.py --file DATA/GCR4.txt --accel-params PARAMS/TURNTABLE_PARAMS.txt
Computed accelerometer calibration:
Bias: [-0.00617524 -0.14126356 -0.17892914]
Scales: [0.99756838 0.99767803 0.99215557]
Misalignment (a_yz, a_zy, a_zx): [ 0.00036183 -0.0024696 -0.00029843]
One row: -6.17523920e-03 -1.41263564e-01 -1.78929144e-01 9.97568380e-01 9.97678031e-01 9.92155565e-01 3.61831531e-04 -2.46959521e-03 -2.98428350e-04
Accel: mean offset from g (calib): 0.003343
Accel: mean offset from g (raw): 0.043589
Accel: 95th%% mean abs error (calib): 0.450151
Accel: 95th%% mean abs error (raw): 0.262477
Accel: RMS fit to sphere (calib): 0.266546
Accel: RMS fit to sphere (raw): 0.142221
=== Cross-dataset calibration test ===
Using parameters from reference run on: calib_data_20250827-1545.txt
Accel: mean offset from g (calib): 0.009600
Accel: mean offset from g (raw): 0.045886
Accel: 95th%% mean abs error (calib): 0.388054
Accel: 95th%% mean abs error (raw): 0.215811
Accel: RMS fit to sphere (calib): 0.229811
Accel: RMS fit to sphere (raw): 0.114710
Found 26 gyro segments.
Filtering gyro segments for real motion...
Estimated gyro bias for filtering: [2.208639 1.054514 0.363871]
Starting gyro optimization (<5 s with integrator='rk4')...
Iteration Total nfev Cost Cost reduction Step norm Optimality
0 1 1.5300e+01 4.38e+00
1 2 6.1779e+00 9.12e+00 1.73e+00 3.33e+00
2 3 3.8449e+00 2.33e+00 9.97e-01 1.38e+00
3 4 3.6710e+00 1.74e-01 1.65e-01 6.68e-01
4 5 3.6380e+00 3.30e-02 6.03e-02 4.35e-01
5 6 3.6234e+00 1.46e-02 3.79e-02 3.45e-01
6 7 3.6132e+00 1.01e-02 3.09e-02 3.19e-01
7 8 3.6036e+00 9.59e-03 2.97e-02 3.35e-01
8 9 3.5920e+00 1.17e-02 3.25e-02 3.95e-01
9 10 3.5741e+00 1.78e-02 3.98e-02 5.18e-01
10 11 3.5414e+00 3.28e-02 5.32e-02 7.35e-01
11 12 3.4768e+00 6.46e-02 7.36e-02 1.04e+00
12 13 3.3756e+00 1.01e-01 9.03e-02 1.20e+00
13 14 3.2886e+00 8.70e-02 7.94e-02 1.01e+00
14 15 3.2404e+00 4.82e-02 5.60e-02 7.69e-01
15 16 3.2138e+00 2.67e-02 4.07e-02 5.95e-01
16 17 3.1970e+00 1.68e-02 3.22e-02 4.90e-01
17 18 3.1847e+00 1.23e-02 2.76e-02 4.32e-01
18 19 3.1742e+00 1.04e-02 2.55e-02 4.09e-01
19 20 3.1640e+00 1.02e-02 2.55e-02 4.17e-01
20 21 3.1523e+00 1.17e-02 2.74e-02 4.55e-01
21 22 3.1370e+00 1.53e-02 3.17e-02 5.32e-01
22 23 3.1140e+00 2.30e-02 3.93e-02 6.60e-01
23 24 3.0761e+00 3.79e-02 5.14e-02 8.40e-01
24 25 3.0140e+00 6.21e-02 6.73e-02 1.02e+00
25 26 2.9334e+00 8.07e-02 7.92e-02 1.01e+00
26 27 2.8699e+00 6.35e-02 7.23e-02 7.46e-01
27 28 2.8418e+00 2.81e-02 4.89e-02 4.30e-01
28 29 2.8334e+00 8.40e-03 2.71e-02 2.17e-01
29 30 2.8314e+00 2.06e-03 1.35e-02 1.03e-01
30 31 2.8309e+00 4.55e-04 6.37e-03 4.75e-02
31 32 2.8308e+00 9.61e-05 2.93e-03 2.16e-02
32 33 2.8308e+00 1.98e-05 1.33e-03 9.78e-03
33 34 2.8308e+00 4.06e-06 6.03e-04 4.41e-03
34 35 2.8308e+00 8.25e-07 2.72e-04 1.99e-03
`ftol` termination condition is satisfied.
Function evaluations 35, initial cost 1.5300e+01, final cost 2.8308e+00, first-order optimality 1.99e-03.
Gyro calibration results:
Scale: [-0.6038897 -0.424269 -1.05036084]
Bias: [2.208639 1.054514 0.363871]
Success: True Cost: 3.0194862233818176
TEST DAY 5
&STATIC0.000079
&GYRO_BIAS GX2.207271GY1.248071GZ0.380602
&TEMP24.59