## Sheet1
TEST DAY 1
| N/A | x | y | z
static border | 0.00012
temp | 25.5
gyro bias |  | 2.0637 | 1.2954 | 0.28692
TEST DAY 2
static border | 8.3e-05
temp | 25.49
gyro bias |  | 1.8346 | 1.2168 | 0.080097
TEST DAY 3
&STATIC0.000089
&GYRO_BIAS GX2.060087GY0.862234GZ0.336149
&TEMP26.27
&STATIC0.000082
&GYRO_BIAS GX2.154391GY0.825239GZ0.370666
&TEMP25.75
python data_analysis_V3.py --file DATA/GYRO_CLEAN_ROTATIONS.txt --rate 78 --integrator rk4 --accel-params PARAMS/TURNTABLE_PARAMS.txt
TEST DAY 4
&STATIC0.000080
&GYRO_BIAS GX2.193134GY1.042247GZ0.365067
&TEMP24.28
120 second static:
&STATIC0.000079
&GYRO_BIAS GX2.208639GY1.054514GZ0.363871
&TEMP24.59
python data_analysis_V3.py --file DATA/GCR4.txt --accel-params PARAMS/TURNTABLE_PARAMS.txt
Computed accelerometer calibration:
Bias: [-0.00617524 -0.14126356 -0.17892914]
Scales: [0.99756838 0.99767803 0.99215557]
Misalignment (a_yz, a_zy, a_zx): [ 0.00036183 -0.0024696 -0.00029843]
One row: -6.17523920e-03 -1.41263564e-01 -1.78929144e-01 9.97568380e-01 9.97678031e-01 9.92155565e-01 3.61831531e-04 -2.46959521e-03 -2.98428350e-04
Accel: mean offset from g (calib): 0.003343
Accel: mean offset from g (raw): 0.043589
Accel: 95th%% mean abs error (calib): 0.450151
Accel: 95th%% mean abs error (raw): 0.262477
Accel: RMS fit to sphere (calib): 0.266546
Accel: RMS fit to sphere (raw): 0.142221
=== Cross-dataset calibration test ===
Using parameters from reference run on: calib_data_20250827-1545.txt
Accel: mean offset from g (calib): 0.009600
Accel: mean offset from g (raw): 0.045886
Accel: 95th%% mean abs error (calib): 0.388054
Accel: 95th%% mean abs error (raw): 0.215811
Accel: RMS fit to sphere (calib): 0.229811
Accel: RMS fit to sphere (raw): 0.114710
Found 26 gyro segments.
Filtering gyro segments for real motion...
Estimated gyro bias for filtering: [2.208639 1.054514 0.363871]
Starting gyro optimization (<5 s with integrator='rk4')...
Iteration Total nfev Cost Cost reduction Step norm Optimality
0 1 1.5300e+01 4.38e+00
1 2 6.1779e+00 9.12e+00 1.73e+00 3.33e+00
2 3 3.8449e+00 2.33e+00 9.97e-01 1.38e+00
3 4 3.6710e+00 1.74e-01 1.65e-01 6.68e-01
4 5 3.6380e+00 3.30e-02 6.03e-02 4.35e-01
5 6 3.6234e+00 1.46e-02 3.79e-02 3.45e-01
6 7 3.6132e+00 1.01e-02 3.09e-02 3.19e-01
7 8 3.6036e+00 9.59e-03 2.97e-02 3.35e-01
8 9 3.5920e+00 1.17e-02 3.25e-02 3.95e-01
9 10 3.5741e+00 1.78e-02 3.98e-02 5.18e-01
10 11 3.5414e+00 3.28e-02 5.32e-02 7.35e-01
11 12 3.4768e+00 6.46e-02 7.36e-02 1.04e+00
12 13 3.3756e+00 1.01e-01 9.03e-02 1.20e+00
13 14 3.2886e+00 8.70e-02 7.94e-02 1.01e+00
14 15 3.2404e+00 4.82e-02 5.60e-02 7.69e-01
15 16 3.2138e+00 2.67e-02 4.07e-02 5.95e-01
16 17 3.1970e+00 1.68e-02 3.22e-02 4.90e-01
17 18 3.1847e+00 1.23e-02 2.76e-02 4.32e-01
18 19 3.1742e+00 1.04e-02 2.55e-02 4.09e-01
19 20 3.1640e+00 1.02e-02 2.55e-02 4.17e-01
20 21 3.1523e+00 1.17e-02 2.74e-02 4.55e-01
21 22 3.1370e+00 1.53e-02 3.17e-02 5.32e-01
22 23 3.1140e+00 2.30e-02 3.93e-02 6.60e-01
23 24 3.0761e+00 3.79e-02 5.14e-02 8.40e-01
24 25 3.0140e+00 6.21e-02 6.73e-02 1.02e+00
25 26 2.9334e+00 8.07e-02 7.92e-02 1.01e+00
26 27 2.8699e+00 6.35e-02 7.23e-02 7.46e-01
27 28 2.8418e+00 2.81e-02 4.89e-02 4.30e-01
28 29 2.8334e+00 8.40e-03 2.71e-02 2.17e-01
29 30 2.8314e+00 2.06e-03 1.35e-02 1.03e-01
30 31 2.8309e+00 4.55e-04 6.37e-03 4.75e-02
31 32 2.8308e+00 9.61e-05 2.93e-03 2.16e-02
32 33 2.8308e+00 1.98e-05 1.33e-03 9.78e-03
33 34 2.8308e+00 4.06e-06 6.03e-04 4.41e-03
34 35 2.8308e+00 8.25e-07 2.72e-04 1.99e-03
`ftol` termination condition is satisfied.
Function evaluations 35, initial cost 1.5300e+01, final cost 2.8308e+00, first-order optimality 1.99e-03.
Gyro calibration results:
Scale: [-0.6038897 -0.424269 -1.05036084]
Bias: [2.208639 1.054514 0.363871]
Success: True Cost: 3.0194862233818176
TEST DAY 5
&STATIC0.000079
&GYRO_BIAS GX2.207271GY1.248071GZ0.380602
&TEMP24.59
DATA ANALYSIS
COMMANDS:
python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/manual1.txt
Params:
=== Cross-dataset calibration test ===
Using parameters from reference run on: big_turntable_test_sample.txt
Accel: mean offset from g (calib): -0.003466
Accel: mean offset from g (raw): 0.040090
Accel: 95th%% mean abs error (calib): 0.042958
Accel: 95th%% mean abs error (raw): 0.252843
Accel: RMS fit to sphere (calib): 0.023015
Accel: RMS fit to sphere (raw): 0.136462
python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/manual1.txt

## Sheet2
DATA ANALYSIS
MANUAL: | GUIDED: | TURNTABLE:
python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/manual1.txt | python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/guided1.txt | python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/TURNTABLE1_ACCEL.txt
7.72898650e-03 -1.31745961e-01 -1.28744674e-01 9.96995134e-01 9.97720064e-01 9.90528954e-01 1.63987347e-03 -2.19314074e-03 -2.21549500e-03 | -3.53569221e-03 -1.30446830e-01 -1.53933907e-01 9.97342195e-01 9.97334754e-01 9.92096110e-01 7.61337394e-05 -4.16120796e-03 2.98310552e-04 | 3.05352369e-02 -1.30510460e-01 -1.62633195e-01 9.97836533e-01 9.97665618e-01 9.90359965e-01 2.19241644e-03 -3.18093248e-03 2.35448411e-03
=== Cross-dataset calibration test === | === Cross-dataset calibration test === | === Cross-dataset calibration test ===
Using parameters from reference run on: big_turntable_test_sample.txt | Using parameters from reference run on: big_turntable_test_sample.txt | Using parameters from reference run on: big_turntable_test_sample.txt
Accel: mean offset from g (calib): -0.003466 | Accel: mean offset from g (calib): 0.000408 | Accel: mean offset from g (calib): -0.001743
Accel: mean offset from g (raw): 0.040090 | Accel: mean offset from g (raw): 0.040090 | Accel: mean offset from g (raw): 0.040090
Accel: 95th%% mean abs error (calib): 0.042958 | Accel: 95th%% mean abs error (calib): 0.051389 | Accel: 95th%% mean abs error (calib): 0.049929
Accel: 95th%% mean abs error (raw): 0.252843 | Accel: 95th%% mean abs error (raw): 0.252843 | Accel: 95th%% mean abs error (raw): 0.252843
Accel: RMS fit to sphere (calib): 0.023015 | Accel: RMS fit to sphere (calib): 0.025270 | Accel: RMS fit to sphere (calib): 0.022161
Accel: RMS fit to sphere (raw): 0.136462 | Accel: RMS fit to sphere (raw): 0.136462 | Accel: RMS fit to sphere (raw): 0.136462
python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/manual2.txt | python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/guided2.txt | python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/TURNTABLE2_ACCEL.txt
1.73797644e-03 -1.37771053e-01 -1.48629030e-01 9.98160419e-01 9.97559960e-01 9.90269011e-01 1.45876946e-03 -3.58944324e-03 8.15213828e-04 | -3.13593111e-03 -1.43908572e-01 -1.66847034e-01 9.97832917e-01 9.97635081e-01 9.92246167e-01 -3.92565332e-05 -2.15197017e-03 4.87079834e-04 | 2.59052588e-02 -1.48293908e-01 -1.72857521e-01 9.97493911e-01 9.97486188e-01 9.92835178e-01 2.55881058e-04 -2.63890016e-03 4.96229208e-04
=== Cross-dataset calibration test === | === Cross-dataset calibration test ===
Using parameters from reference run on: big_turntable_test_sample.txt | Using parameters from reference run on: big_turntable_test_sample.txt | Using parameters from reference run on: big_turntable_test_sample.txt
Accel: mean offset from g (calib): -0.001355 | Accel: mean offset from g (calib): 0.003829 | Accel: mean offset from g (calib): 0.004049
Accel: mean offset from g (raw): 0.040090 | Accel: mean offset from g (raw): 0.040090 | Accel: mean offset from g (raw): 0.040090
Accel: 95th%% mean abs error (calib): 0.041541 | Accel: 95th%% mean abs error (calib): 0.046917 | Accel: 95th%% mean abs error (calib): 0.048241
Accel: 95th%% mean abs error (raw): 0.252843 | Accel: 95th%% mean abs error (raw): 0.252843 | Accel: 95th%% mean abs error (raw): 0.252843
Accel: RMS fit to sphere (calib): 0.019948 | Accel: RMS fit to sphere (calib): 0.023210 | Accel: RMS fit to sphere (calib): 0.019212
Accel: RMS fit to sphere (raw): 0.136462 | Accel: RMS fit to sphere (raw): 0.136462 | Accel: RMS fit to sphere (raw): 0.136462
python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/MANUAL3_ACCEL.txt | python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/guided3.txt | python data_analysis_V3.py --file DATA/big_turntable_test_sample.txt --accel-file DATA/TURNTABLE3_ACCEL.txt
1.94655176e-02 -1.38498687e-01 -1.77081956e-01 9.96840994e-01 9.97969450e-01 9.92455597e-01 3.84901151e-04 -2.47208826e-03 -1.79370363e-04 | -6.17523920e-03 -1.41263564e-01 -1.78929144e-01 9.97568380e-01 9.97678031e-01 9.92155565e-01 3.61831531e-04 -2.46959521e-03 -2.98428350e-04
=== Cross-dataset calibration test ===
=== Cross-dataset calibration test === | === Cross-dataset calibration test === | Using parameters from reference run on: big_turntable_test_sample.txt
Using parameters from reference run on: big_turntable_test_sample.txt | Using parameters from reference run on: big_turntable_test_sample.txt | Accel: mean offset from g (calib): -0.000923
Accel: mean offset from g (calib): 0.002781 | Accel: mean offset from g (calib): 0.002900 | Accel: mean offset from g (raw): 0.040090
Accel: mean offset from g (raw): 0.040090 | Accel: mean offset from g (raw): 0.040090 | Accel: 95th%% mean abs error (calib): 0.027933
Accel: 95th%% mean abs error (calib): 0.051760 | Accel: 95th%% mean abs error (calib): 0.055200 | Accel: 95th%% mean abs error (raw): 0.252843
Accel: 95th%% mean abs error (raw): 0.252843 | Accel: 95th%% mean abs error (raw): 0.252843 | Accel: RMS fit to sphere (calib): 0.014047
Accel: RMS fit to sphere (calib): 0.022728 | Accel: RMS fit to sphere (calib): 0.027670 | Accel: RMS fit to sphere (raw): 0.136462
Accel: RMS fit to sphere (raw): 0.136462 | Accel: RMS fit to sphere (raw): 0.136462

## Sheet3
python data_analysis_V3.py --file DATA/gyro_clean_movements.txt --accel-file DATA/manual1.txt
python gyrotest_final.py --gyro-bias "2.20863900e+00 1.05451400e+00 3.63871000e-01" --gyro-scale "1.0399e+00 1.0399e+00 1.0399e+00"
python gyrotest_final.py --gyro-cal "1.75160508e-02 2.00000000e-01 2.29405639e-02 -1.56104886e-01 2.00000000e-01 -2.00000000e-01 9.41758628e-01 9.70617155e-01 9.80193644e-01 2.20863900e+00 1.05451400e+00 3.63871000e-01"
python gyro_analysis_final.py --file DATA/gyro_clean_movements.txt --accel-params manual_accel_params.txt --units deg_s --rate 70
1.04195648e+00 1.02864937e+00 1.01523233e+00
python gyrotest_final.py --gyro-bias "2.20863900e+00 1.05451400e+00 3.63871000e-01" --gyro-scale "1.04195648e+00 1.02864937e+00 1.01523233e+00"
MANUAL
2.20863900e+00 1.05451400e+00 3.63871000e-01 1.04188778e+00 1.02808295e+00 1.01339930e+00 -5.44009805e-04 2.75603200e-03 5.95177417e-04 1.86572268e-03 -1.34887544e-03 -1.59615810e-03
GUIDED | python data_analysis_V3.py --file DATA/gyro_clean_movements.txt --accel-file DATA/guided1.txt
9.29249338e-01 1.02539725e+00 1.00016388e+00
python gyrotest_final.py --gyro-bias "2.20863900e+00 1.05451400e+00 3.63871000e-01" --gyro-scale "9.29249338e-01 1.02539725e+00 1.00016388e+00"
TURNTABLE
python data_analysis_V3.py --file DATA/gyro_clean_movements.txt --accel-file DATA/TURNTABLE1_ACCEL.txt
python gyrotest_final.py --gyro-bias "2.20863900e+00 1.05451400e+00 3.63871000e-01" --gyro-scale "8.25532851e-01 1.04201770e+00 1.02240288e+00"
python data_analysis_final.py --file DATA/gyro_clean_movements.txt --accel-file DATA/TURNTABLE1_ACCEL.txt
python data_analysis_final.py --file DATA/gyro_clean_movements.txt --accel-file DATA/manual1.txt
python data_analysis_final.py --file DATA/gyro_clean_movements.txt --accel-file DATA/guided1.txt
python data_analysis_final.py ---file DATA/guided1.txt
python gyrotest_final.py --gyro-cal "-4.064292e-03 -4.383641e-03 -4.859623e-03 -5.952036e-03 2.386640e-02 -4.852485e-03 1.016405e+00 1.018756e+00 1.018576e+00 2.208639e+00 1.054514e+00 3.638710e-01"
python gyrotest_final.py --gyro-cal "-4.064292e-03 -4.383641e-03 -4.859623e-03 -5.952036e-03 2.386640e-02 -4.852485e-03 1.016405e+00 1.018756e+00 1.018576e+00 2.208639e+00 1.054514e+00 3.638710e-01"

## Sheet4
=== Before gyro capython adflsh2.py --file DATA/gyro_clean_movements.txt --accel-file DATA/TURNTABLE1_ACCEL.txtlibration === | === After gyro calibration ===
Segment 0 | Segment 0
start accel line: 4 | start accel line: 4
end accel line: 485 | end accel line: 485
a0 raw : [-0.06496761 0.06976744 9.85693101] | a0 raw : [-0.06496761 0.06976744 9.85693101]
a1 raw : [-0.47364635 -0.41693679 -9.75650887] | a1 raw : [-0.47364635 -0.41693679 -9.75650887]
a0 unit: [-0.006591 0.007078 0.999953] | a0 unit: [-0.006591 0.007078 0.999953]
a1 unit: [-0.048445 -0.042645 -0.997915] | a1 unit: [-0.048445 -0.042645 -0.997915]
accel angle : 176.242985 deg | accel angle : 176.242985 deg
gyro integrated angle(q) : 173.928296 deg | gyro integrated angle(q) : 180.901268 deg
gyro path angle(sum wdT) : 173.909676 deg | gyro path angle(sum wdT) : 180.968283 deg
end-vector prediction err : 9.638557 deg | end-vector prediction err : 2.871674 deg
gyro samples in segment : 476 | gyro samples in segment : 476
Segment 1 | Segment 1
start accel line: 485 | start accel line: 485
end accel line: 1107 | end accel line: 1107
a0 raw : [-0.47364635 -0.41693679 -9.75650887] | a0 raw : [-0.47364635 -0.41693679 -9.75650887]
a1 raw : [ 9.80301937 0.16850412 -0.04119514] | a1 raw : [ 9.80301937 0.16850412 -0.04119514]
a0 unit: [-0.048445 -0.042645 -0.997915] | a0 unit: [-0.048445 -0.042645 -0.997915]
a1 unit: [ 0.999843 0.017186 -0.004202] | a1 unit: [ 0.999843 0.017186 -0.004202]
accel angle : 92.577916 deg | accel angle : 92.577916 deg
gyro integrated angle(q) : 89.105753 deg | gyro integrated angle(q) : 92.098874 deg
gyro path angle(sum wdT) : 89.043914 deg | gyro path angle(sum wdT) : 92.036452 deg
end-vector prediction err : 171.619829 deg | end-vector prediction err : 170.923235 deg
gyro samples in segment : 617 | gyro samples in segment : 617
Segment 2 | Segment 2
start accel line: 1107 | start accel line: 1107
end accel line: 1604 | end accel line: 1604
a0 raw : [ 9.80301937 0.16850412 -0.04119514] | a0 raw : [ 9.80301937 0.16850412 -0.04119514]
a1 raw : [-9.83829832 -0.09690262 -0.06647771] | a1 raw : [-9.83829832 -0.09690262 -0.06647771]
a0 unit: [ 0.999843 0.017186 -0.004202] | a0 unit: [ 0.999843 0.017186 -0.004202]
a1 unit: [-0.999929 -0.009849 -0.006757] | a1 unit: [-0.999929 -0.009849 -0.006757]
accel angle : 179.244368 deg | accel angle : 179.244368 deg
gyro integrated angle(q) : 177.764960 deg | gyro integrated angle(q) : 181.126336 deg
gyro path angle(sum wdT) : 177.348400 deg | gyro path angle(sum wdT) : 180.715505 deg
end-vector prediction err : 1.596678 deg | end-vector prediction err : 1.825420 deg
gyro samples in segment : 492 | gyro samples in segment : 492
Segment 3 | Segment 3
start accel line: 1604 | start accel line: 1604
end accel line: 2212 | end accel line: 2212
a0 raw : [-9.83829832 -0.09690262 -0.06647771] | a0 raw : [-9.83829832 -0.09690262 -0.06647771]
a1 raw : [ 9.80714595 0.08231479 -0.04702958] | a1 raw : [ 9.80714595 0.08231479 -0.04702958]
a0 unit: [-0.999929 -0.009849 -0.006757] | a0 unit: [-0.999929 -0.009849 -0.006757]
a1 unit: [ 0.999953 0.008393 -0.004795] | a1 unit: [ 0.999953 0.008393 -0.004795]
accel angle : 179.332891 deg | accel angle : 179.332891 deg
gyro integrated angle(q) : 178.057154 deg | gyro integrated angle(q) : 179.398532 deg
gyro path angle(sum wdT) : 178.551551 deg | gyro path angle(sum wdT) : 179.842725 deg
end-vector prediction err : 2.186397 deg | end-vector prediction err : 0.770575 deg
gyro samples in segment : 603 | gyro samples in segment : 603
Segment 5 | Segment 5
start accel line: 2745 | start accel line: 2745
end accel line: 3089 | end accel line: 3089
a0 raw : [0.03497894 0.08253175 9.84428972] | a0 raw : [0.03497894 0.08253175 9.84428972]
a1 raw : [-0.14231694 9.81491981 -0.24831774] | a1 raw : [-0.14231694 9.81491981 -0.24831774]
a0 unit: [0.003553 0.008383 0.999959] | a0 unit: [0.003553 0.008383 0.999959]
a1 unit: [-0.014494 0.999575 -0.025289] | a1 unit: [-0.014494 0.999575 -0.025289]
accel angle : 90.971778 deg | accel angle : 90.971778 deg
gyro integrated angle(q) : 89.005986 deg | gyro integrated angle(q) : 91.952604 deg
gyro path angle(sum wdT) : 89.146205 deg | gyro path angle(sum wdT) : 92.105396 deg
end-vector prediction err : 177.048257 deg | end-vector prediction err : 175.109914 deg
gyro samples in segment : 339 | gyro samples in segment : 339
Segment 6 | Segment 6
start accel line: 3089 | start accel line: 3089
end accel line: 3617 | end accel line: 3617
a0 raw : [-0.14231694 9.81491981 -0.24831774] | a0 raw : [-0.14231694 9.81491981 -0.24831774]
a1 raw : [ 9.80339752 0.08930925 -0.10537397] | a1 raw : [ 9.80339752 0.08930925 -0.10537397]
a0 unit: [-0.014494 0.999575 -0.025289] | a0 unit: [-0.014494 0.999575 -0.025289]
a1 unit: [ 0.999901 0.009109 -0.010748] | a1 unit: [ 0.999901 0.009109 -0.010748]
accel angle : 90.293092 deg | accel angle : 90.293092 deg
gyro integrated angle(q) : 85.776021 deg | gyro integrated angle(q) : 87.803227 deg
gyro path angle(sum wdT) : 85.788447 deg | gyro path angle(sum wdT) : 87.817984 deg
end-vector prediction err : 173.080725 deg | end-vector prediction err : 177.934961 deg
gyro samples in segment : 523 | gyro samples in segment : 523
Prediction error summary:
mean : 88.239296 deg
median : 86.897455 deg
max : 177.934961 deg